## Size of S_Farms and MW
Area of Farm from QGIS | Sized | Actual Power MW Generated | Lat | Lon | Location | Location Bus | Voltage | Current rating | I bundle | Rac bundle | X/km | CF | Inservice | Pmw real
1.9805 | 97.8791 | 11.0408 | 39.5885 | 3.1233 | Es bessons | 9 | 220 | 28.9745 | 0.3825 | 0.2685 | 0.35824 | 0 | 1 | 11.0408 | Don't Mind This
3.4675 | 171.3657 | 19.3301 | 39.6333 | 3.1177 | Llubi | 7 | 220 | 50.7282 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 19.3301 |  |  |  | Elvissa | 218.7 | 218.7
4.0945 | 202.3556 | 22.8257 | 39.6355 | 3.0603 | Es bessons | 9 | 220 | 59.902 | 0.2175 | 0.675 | 0.37277 | 0 | 1 | 22.8257 | Majorca Murterar | 24.5286 |  | Saint Francesco | 12 | 12
2.7933 | 138.0466 | 15.5717 | 39.6435 | 3.0862 | Es bessons | 9 | 220 | 40.865 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 15.5717 | Majorca Bessons | 11.0408 |  | Son Reus | 303.0173 | 248.2513
4.4 | 217.4525 | 24.5286 | 39.6699 | 3.0522 | Murterar | 8 | 220 | 64.371 | 0.2175 | 0.675 | 0.37277 | 0 | 1 | 24.5286 | Majorca Llubi | 57.7274 |  | Cas Tresorer | 280.0529 | 269.4331
3.223 | 159.2831 | 17.9671 | 39.6557 | 2.7097 | San Reus | 4 | 220 | 47.1515 | 0.2175 | 0.675 | 0.37277 | 0 | 1 | 17.9671 | Majorca PALMA | 10.6198 |  | Murterar | 369.5298 | 273.6394
5.5 | 271.8157 | 30.6608 | 39.6485 | 2.7366 | San Reus | 4 | 220 | 80.4638 | 0.2775 | 0.4265 | 0.36554 | 0 | 1 | 30.6608 | Majorca Reus | 48.6279 |  | Mahon (Mao) | 113.2 | 113.2
0.905 | 44.7259 | 5.0451 | 39.5899 | 2.7462 | Palma | 5 | 220 | 13.2399 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 5.0451 | Other Bessons | 2.5936 | 1 |  |  | 161.2761
1 | 49.421 | 5.5747 | 39.5742 | 2.7719 | Palma | 5 | 220 | 14.6298 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 5.5747 | Majorca Valld | 6.138 |  |  |  | 1296.5
Note on A6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 4.402979 is prefered size.

## Duplicate
| Sized | Actual Power MW Generated | Lat | Lon | Location | Location Bus | Voltage | Current rating | I bundle | Rac bundle | X/km | CF | Inservice | Pmw real
1.9805 | 97.8791 | 11.0408 | 39.5885 | 3.1233 | Es bessons | 9 | 220 | 28.9745 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 11.0408
0.46525 | 22.9929 | 2.5936 | 39.5793 | 3.1503 | Es bessons | 9 | 220 | 6.8064 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 2.5936
3.4675 | 171.3657 | 19.3301 | 39.6333 | 3.1177 | Llubi | 7 | 220 | 50.7282 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 19.3301
4.0945 | 202.3556 | 22.8257 | 39.6355 | 3.0603 | Es bessons | 9 | 220 | 59.902 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 22.8257
2.7933 | 138.0466 | 15.5717 | 39.6435 | 3.0862 | Es bessons | 9 | 220 | 40.865 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 15.5717 |  |  | Elvissa | 218.7
1.7994 | 88.9286 | 10.0311 | 39.6226 | 3.1248 | Llubi | 7 | 220 | 26.3249 | 0.165 | 1.075 | 0.38011 | 0 | 0 | 0 | Majorca Murterar | 24.5286 | Saint Francesco | 12
4.4 | 217.4525 | 24.5286 | 39.6699 | 3.0522 | Murterar | 8 | 220 | 64.371 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 24.5286 | Majorca Bessons | #REF! | Son Reus | 303.0173 | 255.403
0.30049 | 14.8505 | 1.6751 | 40.0003 | 3.8661 | Cuitedella | 13 | 132 | 7.3268 | 0.165 | 1.075 | 0.38011 | 0 | 0 | 0 | Majorca Llubi | 57.7274 | Cas Tresorer | 280.0529 | 269.4912
0.38377 | 18.9663 | 2.1394 | 40.0284 | 3.8602 | Cuitedella | 13 | 132 | 9.3574 | 0.165 | 1.075 | 0.38011 | 0 | 0 | 0 | Menorca | 0 | Murterar | 369.5298 | #REF!
0.15571 | 7.6955 | 0.86805 | 40.0129 | 3.8668 | Cuitedella | 13 | 132 | 3.7967 | 0.165 | 1.075 | 0.38011 | 0 | 0 | 0 | Majorca PALMA | 10.5617 | Mahon (Mao) | 113.2 | 113.2
1.2573 | 62.1368 | 7.009 | 40.0274 | 3.8539 | Cuitedella | 13 | 132 | 30.6565 | 0.165 | 1.075 | 0.38011 | 0 | 0 | 0 | Majorca Reus | 47.6143 |  |  | #REF!
3.2072 | 158.5051 | 17.8794 | 40.0341 | 3.841 | Cuitedella | 13 | 132 | 78.202 | 0.165 | 1.075 | 0.38011 | 0 | 0 | 0 | Majorca Ponsa |  |  |  | #REF!
0.72561 | 35.8601 | 4.045 | 40.0298 | 3.8809 | Cuitedella | 13 | 132 | 17.6924 | 0.165 | 1.075 | 0.38011 | 0 | 0 | 0 | Majorca Valld
0.59285 | 29.2993 | 3.305 | 40.0221 | 3.87 | Cuitedella | 13 | 132 | 14.4555 | 0.165 | 1.075 | 0.38011 | 0 | 0 | 0
0.87317 | 43.153 | 4.8677 | 40.0297 | 3.8723 | Cuitedella | 13 | 132 | 21.2905 | 0.165 | 1.075 | 0.38011 | 0 | 0 | 0
0.84397 | 41.7101 | 4.7049 | 40.0189 | 3.859 | Cuitedella | 13 | 132 | 20.5786 | 0.165 | 1.075 | 0.38011 | 0 | 0 | 0
1.8715 | 92.4914 | 10.433 | 40.0189 | 3.859 | Santa Ponsa | 2 | 220 | 27.3796 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 10.433
3.223 | 159.2831 | 17.9671 | 39.6557 | 2.7097 | San Reus | 4 | 220 | 47.1515 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 17.9671
5.3182 | 262.8292 | 29.6471 | 39.6485 | 2.7366 | San Reus | 4 | 220 | 77.8036 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 29.6471
0.905 | 44.7259 | 5.0451 | 39.5899 | 2.7462 | Palma | 5 | 220 | 13.2399 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 5.0451
0.98959 | 48.9065 | 5.5166 | 39.5742 | 2.7719 | Palma | 5 | 220 | 14.4774 | 0.165 | 1.075 | 0.38011 | 0 | 1 | 5.5166 | 164.4995 | sum
Note on A8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 4.402979 is prefered size.
Note on A13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Divide by two to get a more comfortable number